# CBCT AI Report

CBCT AI REPORT

Generated: 2025-11-25 17:38:38

Patient: (anonymized — no identifiers supplied)

1. Scan Details

- Source file: /tmp/cbct_upload_8a07e341-5aa1-4371-94a9-e6f0c6f2daa3/8a07e341-5aa1-4371-94a9-e6f0c6f2daa3_A_SUNITHA.dcm

- Voxel size (approx): (0.4, 0.4, 0.4)

2. Image Quality

- Image quality adequate for automated analysis unless stated otherwise.

3. Findings

- Volume shape (Z,Y,X): (400, 400, 400)

- Mean HU (approx): 240.3; min 0.0; max 4095.0

- Maxillary sinus: estimated aeration mask present; voxel count 47492513 (quantitative assessment).

- Airway volume (automated estimate): 2985050.8 mm³

- Mandibular canal: no clear tubular canal region identified by heuristic.

- Periapical low-density candidates: 6 (low confidence). Correlate with periapical radiographs.

- Cortical thickness (mean projection approx): 0.00 (voxels units).

4. Impression

- Possible periapical low-density region(s) identified (low confidence). Correlate clinically and with periapical radiographs.

- No gross destructive osseous lesion identified on this automated pass.

5. Recommendations

- Correlate imaging with clinical findings and intraoral/periapical radiographs.

- For implant planning, perform dedicated cross-sectional measurements at proposed site.

- If suspicious lesion persists, consider targeted CBCT/clinical evaluation or specialist referral.

Radiologist:

Name: _______________________

Date: 2025-11-25